Specifications

| Nominal Voltage |  | 12 V |
| --- | --- | --- |
| Capacity(10HR, 25℃) |  | 7Ah |
| Dimension | Length | 151±2mm (5.94inch) |
|  | Width | 87±2mm (3.43inch) |
|  | Height | 95±2mm (3.74inch) |
| Approx. Weight |  | 2.5kg (5.51lbs)±5% |
| Operating temperature range |  | -20℃～50℃(-4℉～122℉) |
| Standard Charging method (25℃) | Current | 0.7A |
|  | Time | 5~10h |
| Quickly Charging method (25℃) | Current | 3.5A |
|  | Time | 1h |
| Terminal material |  | Lead |
| Container Material |  | ABS |

Discharge Characteristics(25℃)

Self-discharge characteristics

Dimensions

Terminal